## Sheet1
CTAB extraction for fungi/yeasts for WGS
Extraction date:
1 | Switch on water bath or heating block to 65° C. | BIOzymTC screw caps and tubes B91201, B91300
2 | Fill 2 ml screw cap tubes with 490 µl CTAB-buffer 2% and ~6-10 acid washed glass beads (1.5-2 mm). | CTAB SIgma-Aldrich H6269, glass beads VWR MARI4901002
3 | Add 10 µl Proteinase K stock solution (40 mg/4.0 ml = 100 µg). | Handle with care. Promega V3021.
4 | Add some fungal material (1-10 mm3) or 10 µl filled loop for yeasts. Avoid adding agar. | material should be covered by buffer.
5 | Incubate for 30-60 min. at 65° C. Mix occassionally.
6 | Add 250 µl CTAB 5% buffer and vortex 10 min.
7 | Incubate for another 60-120 min. at 65° C. Mix occassionally. | can be prolonged to 2 hrs. depending on the species.
8 | Cool to room temperature and add 750 µl SEVAG (chloroform:isoamylalcohol 24:1) and shake for 2 min. to form an emulsion. | Use fume hood
9 | Maintain the emulsion by flipping tubes. | Do not vortex !
10 | Spin tubes in a microfuge at 14,000 rpm for 10 min. (long enough to produce a clear supernatant).
11 | Collect the aqueous (upper) layer in a clean, labeled tube. Avoid contamination by the lower layer (~650 µl). | Use fume hood
The extraction tube is chemical waste. Discard in the blue container in the fume hood.
12 | Estimate volume of the DNA sample (e.g. 650 µl) and add 0.55x volume (e.g. 360 µl) of ice cold iso-propanol (-20° C).
13 | Mix by inverting the tubes, DO NOT shake or vortex. | Do not mix by pipetting !
14 | Incubate tubes at -20 °C overnight for a better yield, but might increase unwanted compounds. | Optional ¨
15 | Spin tubes in a microfuge at 12,000 rpm for 10 min.
16 | Pour off the iso-propanol without losing the pellet.
Optionally: Spin quickly with a table top centrifuge to remove the rest of the liquid.
17 | Add 1 ml of ice-cold 70% ethanol to each tube and mix gently. | Washing step (17-18) can be repeated.
18 | Spin the tubes again at 12,000 rpm for 2 min. and pour off alcohol as much as possible. | Optional ¨
19 | Dry the samples by air or using a SpeedVac. | Do not overdry the pellet.
20 | Resuspend the dried pellet in 20-50 µl TE-buffer. | depending on pellet size.
21 | RNAse step: 0.5 µl RNAse cocktail, incubate for 30-60 min. at 37 °C. | RNAse cocktail: 1 µl/100 µl buffer (Fisher Scientific 10036284)
22 | Check quality of DNA by running 2.5 µl on a 0.8% agarose gel.
23 | Measure concentration with 1 µl 10x diluted DNA sample on Nanodrop and with Qubit. | Perform Qubit in triplicate.
24 | Store frozen at -20 °C.
Navarro-Muñoz, J.C., de Jong, A.W., Gerrits van den Ende, B. et al. The High-Quality Complete Genome Sequence of the Opportunistic Fungal Pathogen Candida vulturna CBS 14366T. Mycopathologia 184, 731–734 (2019). https://doi.org/10.1007/s11046-019-00404-0
| Species | Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30